CSI SECTION 09 24 00 – PORTLAND CEMENT PLASTER

Fiber reinforced HARDCOAT STUCCO System with Rigid Insulation and optional crack resistant lamina

# SYSTEM OVERVIEW

The Decoplast Hardcoat ci System, is a Fiber Reinforced Cement Stucco system installed over Continuous Rigid Insulation with an optional crack resistant lamina.

PART 1 - GENERAL

- SECTION INCLUDES

  - Supply and installation of fiber reinforced, Hard Coat stucco assembly with Exterior Rigid Insulation and optional crack resistance lamina.

- RELATED SECTIONS

  - Section 03 30 00 - Cast-in-Place Concrete

  - Section 04 20 00 - Unit Masonry

  - Section 06 16 00 - Sheathing

  - Section 07 25 00 - Weather Barriers

  - Section 07 62 00 - Sheet Metal Flashing and Trim

  - Section 07 90 00 - Joint Protection

  - Section 08 50 00 - Windows

  - Section 09 21 16 - Gypsum Board Assemblies

- REFERENCES

  - ASTM C144 	Standard Specification for Aggregate for Masonry Mortar

  - ASTM C578 	Specification for Preformed, Cellular Polystyrene Thermal Insulation

  - ASTM C847 	Standard Specification for Metal Lath

  - ASTM C897 	Standard Specification for Aggregate for Job-Mixed Portland Cement-Based Plaster

  - ASTM C926 	Standard Specification for Application of Portland Cement-Based Plaster

  - ASTM C933 	Standard Specification for Welded Wire Lath

  - ASTM C1032 	Standard Specification for Woven Wire Plaster Base

  - ASTM C1063 	Standard Specification for Installation of Lathing and Furring for Portland Cement Based Plaster

  - ASTM C1177 	Specification for Glass Mat Gypsum for Use as Sheathing

  - ASTM C1278 	Specification for Fiber-Reinforced Gypsum Panel

  - ASTM C1396 	Standard Specification for Gypsum Board

  - ASTM E84 	Test Method for Surface Burning Characteristics of Building Materials

  - ASTM E119 	Method for Fire Tests of Building Construction and Materials

  - ASTM E330 	Test Method for Structural Performance of Windows, Curtain Walls, and Doors by Uniform Static air Pressure Difference

  - ASTM G153 	Standard Practice for Operating Enclosed Carbon Arc Light Apparatus for Exposure of Nonmetallic Materials

  - ICC AC 11	Acceptance Criteria for Cementitious Exterior Wall Coating

  - ICC AC 219       Acceptance Criteria for Exterior Insulation And Finish Systems

- ASSEMBLY DESCRIPTION

- Hard Coat Stucco Assembly with Continuous Rigid Inulation: water resistive barrier, Exterior Rigid Insulation, Deco-Lath (ml43 or ml88), wire fabric or metal lath, pre-mixed stucco fiber base coat (Scratch Coat), pre-mixed Stucco Basecoat (Brown Coat) and either an acrylic or elastomeric based finish coat.

-OR-

- Hard Coat Stucco Assembly with Continuous Rigid Insulation and Crack Resistance Lamina: water resistive barrier, Exterior Rigid Insulation Decolath (ml43 or ml88), wire fabric or metal lath, pre-mixed stucco fiber base coat (Scratch Coat), pre-mixed stucco base (Brown Coat), fiberglass reinforcing mesh embedded in stucco leveling coat, and either an acrylic or elastomeric based finish coat.

  - Stucco Functional Criteria:

    - General: Stucco application shall be to vertical substrates or to substrates sloped for positive drainage. Substrates sloped for drainage shall have additional protection from weather exposure that might be harmful to coating performance.

1.5	Performance Requirements

A.	Scratch and Brown Coat material in compliance with ASTM C 926 and Manufactured or listed by Greenmaker Industries/Decoplast (see addendum)

B.		Expansion and Control Joints: Continuous expansion and control joints shall be installed at locations in accordance with ASTM C1063 and ASTM C926.

    - Substrate movement, and expansion and contraction of stucco and adjacent materials shall be taken into account in design of expansion joints, with proper consideration given to sealant properties, installation conditions, temperature range, and coefficients of expansion of materials, joint width to depth ratios, and other material factors. Minimum width of expansion joints shall be as specified by the designer or shown on the project drawings.

    - In accordance with ASTM C1063, expansion or control joints shall be installed in walls not more than 144 ft² (13.4 m²) in area, and not more than 100 ft² (9.3 m²) in area for all non-vertical applications.  The distance between joints shall not exceed 18 ft (5.5 m) in either direction or a length-to-width ratio of 2-½ to 1.

- SUBMITTALS

  - General: Submit Samples, Evaluation Reports and manufacturer’s product data sheets in accordance with Division 1 General Requirements Submittal Section.

  - Samples: Submit samples for approval. Samples shall be of materials specified and of suitable size as required to accurately represent each color and texture used on project. Prepare each sample using same tools and techniques for actual project application. Maintain and make available, at job site, approved samples.

  - Manufacturer's Warranty: Submit sample copies of Manufacturer's Warranty indicating Single Source Responsibility for stucco assembly materials.

- QUALITY ASSURANCE

  - Qualifications:

    - Manufacturer: Shall have marketed stucco assemblies in United States for at least ten years and shall have completed projects of same general scope and complexity.

    - Applicator: Shall be experienced and competent in installation of stucco materials, and shall provide evidence of a minimum of five years’ experience in work similar to that required by this section.

    - Products manufactured under Q-24 Quality Control System or ISO 9001:2000 Quality System.

- DELIVERY, STORAGE, AND HANDLING

  - Delivery: Deliver stucco assembly materials in original packaging with manufacturer's identification.

  - Storage: Store stucco assembly materials in a dry location, out of direct sunlight, off the ground, and protected from moisture.

- SITE / ENVIRONMENTAL CONDITIONS

  - Substrate Temperature: Do not apply stucco assembly materials to substrates whose temperature are below 40(F (4(C) or contain frost or ice.

  - Inclement Weather: Do not apply stucco assembly materials during inclement weather, unless appropriate protection is employed.

  - Sunlight Exposure: Avoid, when possible, installation of the stucco assembly materials in direct sunlight. Application of finishes in direct sunlight in hot weather may adversely affect aesthetics.

  - Do not apply stucco base coats or finishes if ambient temperature falls below 40ºF (4ºC) within 24 hours of application. Protect stucco materials from uneven and excessive evaporation during dry weather and strong blasts of dry air.

  - Prior to installation, the substrate shall be inspected for surface contamination, or other conditions that may adversely affect the performance of the stucco assembly materials, and shall be free of residual moisture.

- COORDINATION AND SCHEDULING

  - Coordination: Coordinate stucco assembly installation with other construction operations.

- WARRANTY

  - Warranty: Upon request, at completion of installation, provide manufacturer’s Standard Limited Warranty.

    - Decoplast Hard Coat ci Stucco System (3 Years)

    - Decoplast Hard Coat ci Stucco System w/ Enhanced Crack Resistant Lamina (5 Years)

PART 2 - PRODUCTS

- MANUFACTURERS

- Manufacturer, Greenmaker Industries, 697 Oakwood Ave. West Hartford, CT 06110 Customer Service/Technical Services 860-761-2830

- Components: Obtain components manufactured or listed by Greenmaker Industries. No substitutions or additions of other materials are permitted without prior written permission from Greenmaker Industries

- MATERIALS

  - Decoplast/Spec-mix Fiber Stucco Base Premix (3/8 in – 1/2 in per scratch/brown coat):

    - Decoplast/Spec-mix Fiber Stucco Base Premix Proprietary mixture of portland cement and proprietary ingredients mixed with clean, cool, potable water in the field.

  - Stucco Admix

- Decoplast Decoprep Admix & Bonding Agent: 100% acrylic emulsion additive for portland cement based products to enhance curing, adhesion, freeze-thaw resistance and workability and as an acrylic polymer bonding agent.

  - Reinforcing Coat:

    - Decoplast Liquid Basecoat & Adhesive: 100% acrylic polymer base, requiring the addition of portland cement mixed at a 1:1 ratio

    - Decoplast Dry Base Coat & Adhesive: Copolymer based, factory blend of cement and proprietary ingredients requiring addition of water.

[3.    Decoplast Reinforcing Meshes:

      - Decoplast Premium Mesh:  Weight 4.5 oz/yd2 (153 g/m2) reinforcing mesh.

      - Decoplast Premium 15 Intermediate Mesh: Weight 12 oz/yd2 (407 g/m2) reinforcing mesh.

  - Expanded Polystyrene Features over Stucco:

    - Adhesive and Base Coat:

      - Decoplast Dry Basecoat and Adhesive: Copolymer based, factory blend of cement and proprietary ingredients requiring addition of water.

      - Decoplast Liquid Base Coat & Adhesive: 100% acrylic polymer base, requiring the addition of portland cement.

    - Insulation Board:

- In compliance with Radco or UL lisiting.

- Produced and labeled under a third party quality program as required by applicable building code; and produced by a manufacturer approved by Greenmaker Industries

- Shall conform to ASTM C578, ASTM E2430 Type I, and the Greenmaker Industries/Decoplast specification for Molded Expanded Polystyrene Insulation board.

    - Reinforcing Mesh:

      - Decoplast Premium Mesh:  Weight 4.5 oz/yd2 (153 g/m2) reinforcing mesh.

      - Decoplast Premium Detail Mesh: Reinforcing mesh used for back wrapping and details.

  - Primer:

    - Decoplast Primer: 100% acrylic based primer to prepare surfaces for acrylic or elastomeric finishes.

- Finish:

- Decoplast Deco-sil Finish: 100% acrylic polymer based finish, enhanced DPR acrylic finish with hydrophobic and photocatalytic properties, repels water, reflects UV rays, and reduces smog particles near the finish surface.  Finish type, texture and color as selected by Project Designer.

- Decoplast Standard Finish: Factory blended, 100% acrylic polymer based flexible finish, integrally colored.  Finish type, texture and color as selected by Project Designer.

- Decoplast Deco-250 Finish: Factory blended, 100% acrylic polymer based finish, integrally colored.  Finish type, texture and color as selected by Project Designer.

- Decoplast Decolastic Finish: Factory blended, 100% acrylic polymer based elastomeric textured finish, integrally colored.   Finish type, texture and color as selected by Project Designer

- RELATED MATERIALS AND ACCESSORIES

  - General: Stucco assembly materials and related materials shall conform to the requirements of Spec-mix ICC-ES Evaluation Report No. 3018 (Greenmaker Industries/Decoplast approved listed manufacturer)   and shall conform to this specification.

- Substrate Materials:

    - Gypsum Sheathing: Minimum 1/2 in (13 mm) thick, core-treated, weather-resistant, exterior gypsum sheathing complying with ASTM C79 or ASTM C1177.

    - Cement Board Sheathing, Minimum 1/2 in thick, conforming to ASTM C1186.

    - Fiberboard: Minimum 1/2 in (13 mm) thick fiberboard complying with ANSI/AHA A194.1 as a regular density sheathing.

    - Plywood: Minimum 5/16 in (8 mm) thick exterior grade or Exposure I plywood for studs spaced 16 in (406 mm) o.c. and 3/8 in (9 mm) thick exterior type plywood minimum for studs spaced 24 in (610 mm) o.c.  Plywood shall comply be exterior grade or Exposure 1 and comply with DOC PS-1.

    - .Oriented Strand Board (OSB): 7/16 -1/2 in Wall-16 or Wall-24, approved by the APA, TECO, or PSI/PTL.  Stamped as Exposure 1 or Exterior Sheathing with a PS2 or PRP-108 rating.

    - Concrete Masonry Construction: Painted (coated) and non-painted (uncoated). Shall be in conformance with the building code.

    - Other Approved by stucco assembly manufacturer in writing prior to the project.

- Water-Resistive Barriers:

    - For non-wood based sheathing shall be either:

      - 1 layer Jumbo Tek 60 min. single ply Class D building paper

      - Lath with appropriate paper backing.

      - Other recognized equivalent.

    - For wood based sheathing shall be either:

      - 1 layer Jumbo Tek 60 min. 2 ply class D building paper

      - 1 layer of Decoplast Liquid Weather Barrier and 1 layer Jumbo Tek 60 min. single ply Class D  building paper

      - Other recognized equivalent.

    - Open Framing:

      - 1 layer Grade D asphalt saturated Kraft building paper.

      - 1 layer asphalt-saturated felt complying with ASTM D 226 Type I.

      - Other recognized equivalent.

- Lath and Accessories: Conform to ASTM C847, ASTM C933, ASTM C1032, ASTM C1063 and Appendix.

    - Accessories:  Manufacturer’s standard steel products with minimum G60 galvanizing unless otherwise indicated as rigid polyvinyl chloride (PVC plastic) or zinc alloy.

    - Metal Plaster Bases: Minimum 17 gauge self-furred stucco netting,  minimum 2.5 lb/yd2 (1.4 kg/m2) or 3.4 lb/yd2 (1.8 kg/m2) expanded metal diamond lath, or welded wire lath in accordance with applicable codes and standards.

    - Weep Screeds: Foundation weep screed with minimum 3-1/2 inch vertical attachment flange.

  - Seals, Sealants and Bond Breakers: Sealants shall conform to ASTM C 920, Grade NS, Class 25, Use NT.  Backer rod shall be closed-cell polyethylene foam. (see Decopalst approves sealant list)

PART 3 - EXECUTION

- EXAMINATION

  - Verify project site conditions under provisions of Section 01 00 00.

  - Compliance: Comply with manufacturer's instructions for installation of stucco assembly materials.

  - Substrate Examination: Examine prior to stucco base installation as follows:

    - Substrate shall be of a type approved by stucco assembly manufacturer and the building code having jurisdiction. Plywood and OSB substrates shall be gapped 1/8 in (3.2 mm) at all edges.

    - Substrate shall be examined for soundness, and other harmful conditions.

    - Substrate shall be free of dust, dirt, laitance, efflorescence, and other harmful contaminants.

    - Substrate construction in accordance with substrate material manufacturer's specifications and applicable building codes.

  - Advise Contractor of discrepancies preventing proper installation of stucco assembly. Do not proceed with the stucco assembly work until unsatisfactory conditions are corrected.

- PREPARATION

  - Water-Resistive Barrier:

    - The water-resistive barrier is placed over all substrates except concrete or unpainted masonry. Painted (coated) CMU is to use a bond breaker such as asphalt paper and lath if the paint or coating cannot be removed.

    - Installed according to manufacturer’s instructions.

  - Wire Fabric Lath and Metal Lath: Install per ASTM C1063

  - Concrete (Cast-in-Place): Provide a surface that is straight and true to line and plane. Remove form ties and trim projecting concrete so it is even with the plane of the wall. Remove form release agents. (for direct apply application refer to Decoplast DDS specification)

  - Concrete Masonry Units: Remove projecting joint mortar so it is even with the plane of the wall.

  - Ensure that metal flashing has been installed per Specification Section 07 60 00 - Flashing and Sheet Metal.

- MIXING

  - Mix proprietary products in accordance with manufacturer's instructions, including the applicable stucco assembly product data sheets and application guidelines.

- APPLICATION

- General: Stucco assembly and its related materials shall conform to the requirements of ASTM C926 and shall conform to this specification.

- Bonding Agent: Decoplast Deco-Prep for use between cementitious coats.

- Apply at the rate of 250 sq. ft. per gallon using a low-pressure sprayer brush- or roller. (application in direct sunlight may cause the product to dry too quickly)

- Stucco finishes or other cement products can still be applied after Bonding Agent becomes tacky up to 72 hours after application, but not while wet.

- Stucco Base:

    - Either Decoplast or Spec-Mix Stucco mixtures shall be applied in one or two coats to a minimum thickness of 3/8 in (9.5 mm) per coat by hand troweling or machine spraying the mixture to the wire lath in accordance with manufacturer’s product data sheets and application guidelines. The maximum thickness applied in one pass is 1/2 in (17 mm).

    - Rod surface to true plane and float to densify.

    - Trowel to smooth and uniform surface to receive acrylic or elastomeric finish coat.

[D.	 Reinforcing Coat:

    - After Moist Curing, allow stucco base coat to air dry a minimum of 24 hours before applying the reinforcing coat.

    - Using a stainless steel trowel, apply the stucco leveling coat over the stucco base coat at a thickness of 1/16 to 3/32 in (1.6 – 2.4 mm).

    - Fully embed reinforcing mesh, either Decoplast Premium or Decoplast Intermediate Mesh, into wet stucco level coat, including diagonal strips at corners of openings and trowel smooth. If Decoplast Premium 4.5oz Mesh is used, seams are overlapped 2-1/2 in (63 mm); if Decoplast Intermediate 15oz Mesh is used, seams are butted and covered by strips of Decoplast Premium 9” Detail Mesh.

    - The acrylic primers and finishes can be applied as soon as the stucco leveling coat has dried, typically within 24 hours.

[E.	Expanded Polystyrene Featured over Stucco Base Coat:

- Install back-wrap mesh at EPS terminations.

- Apply adhesive to backs of insulation boards with a notched trowel.  Allow to dry a minimum of 12 hours.

- Apply base coat material to the entire foam shape and pull the backwrap mesh around the foam shapes and fully embed it into the base coat.

- Immediately embed the reinforcing mesh in the wet base coat.

F.	Primer and Finish:

    - Remove surface contaminants such as dust or dirt without damaging the substrate.

    - Ambient and surface temperature must be 40°F (4°C) or higher during application and drying time. Supplemental heat and protection from precipitation must be provided as needed.

    - Use only on surfaces that are sound, clean, dry, unpainted, and free from any residue that might affect the ability of the finish to bond to the surface.

G.	Curing:

    - Keep stucco base coat moist for at least 48 hours (longer in dry weather) by lightly fogging walls.  Start light fogging after initial set of 1–2 hours.

    - Air dry acrylic based and elastomeric finish coats only, do not wet cure.

- CLEAN-UP

  - Removal: Remove and legally dispose of stucco component debris material from job site.

- PROTECTION

  - Provide protection of installed materials from water infiltration into or behind them.

  - Provide protection of installed stucco from dust, dirt, precipitation, and freezing during installation.

  - Provide protection of installed finish from dust, dirt, precipitation, freezing, and continuous high humidity until fully dry.

  - Clean exposed surfaces using materials and methods recommended by the manufacturer of the material or product being cleaned. Remove and replace work that cannot be cleaned to the satisfaction of the Designer/Owner.

END OF SECTION								    	Revised 9/18/2015

Disclaimer: This guide specification is intended for use by a qualified designer. The guide specification is not intended to be used verbatim as an actual specification without appropriate modifications for the specific use intended. The guide specification must be integrated into and coordinated with the procedures of each design firm, and the requirements of a specific project.  For additional assistance, contact Greenmaker Industries/Decoplast Technical services @ 860-761-2830.